NATIONAL INSTITUTE OF ANIMAL BIOTECHNOLOGY (NIAB)

Aryabhata Block, C.R. Rao Advanced Institute of Mathematics, Statistics and Computer Science (AIMSCS), UoH Campus, Gachibowli, Hyderabad-500 046

TENDER NOTIFICATION

Tender No. NIAB/Bore/2012					Date: 9th July, 2012

- Sealed tenders are invited from experienced contractors registered with Government / Semi- Government organizations by Officer on Special Duty (OSD), National Institute of Animal Biotechnology (NIAB), for the following works at NIAB site situated at Survey No. 37, Gopanpally Village, Serilingampally Mandal, R.R. District.

Name of the work		: Sinking of (one number) 6.5’ dia borewell, 					  casing, installation of submersible pump set, 				  pipes, other accessories, control panel, cables, 				  switches etc.,

- The prescribed tender document containing terms and conditions and other relevant details may be downloaded from our website at www.niab.org.in.

- The last date for submission of tender is at 3:00 P.M. on 16th July, 2012

- The date of opening of tender at 3:30 P.M. on 16th July, 2012

- EMD of Rs. 5,000/- (Rupees five thousands only) in the form of DD in favour of National Institute of Animal Biotechnology, payable at Hyderabad to be enclosed with the demand draft.

- Validity of Tender: 30 days from the date of opening date of the tender.

OSD, NIAB

NATIONAL INSTITUTE OF ANIMAL BIOTECHNOLOGY (NIAB)

Aryabhata Block, C.R. Rao Advanced Institute of Mathematics, Statistics and Computer Science (AIMSCS), UoH Campus, Gachibowli, Hyderabad-500 046

www.niab.org.in

TENDER NOTIFICATION

FOR

Sinking of 6.5’ dia borewell and other accessories at NIAB site

ISSUED ON				:	9th July, 2012

LAST DATE FOR SUBMISSION		:	16th July, 2012

OF PROPOSAL

Tender No. NIAB/Bore/2012					Date: 9th July, 2012

Scope of work:

The scope of work required to be carried out by the bidder shall cover and include the following:

- Sinking of (one number) 6.5’ dia borewell, casing, installation of submersible pump set, pipes, other accessories, control panel, cables, switches etc.,

Instructions to the Tenderer:

- The bidders have to submit their bids strictly as specified in the tender document.

- The tender has to be submitted at the office of National Institute of Animal Biotechnology, Aryabhata Block, C.R. Rao Advanced Institute of Mathematics, Statistics and Computer Science (AIMSCS), University of Hyderabad Campus, Gachibowli, Hyderabad-500 046 on or before 16th July, 2012 Time 3:00 P.M. Tenders which are received later after due date and time will not be considered.

- The tender shall be valid for a period of 30 days from the date of opening of the tender.

- The tender shall be opened at 3:30 P.M. on 16th July, 2012  In the presence of tenderers.

- Failure to furnish full and complete details will make the tender viable for rejection.

- The tenderer should be a licensed with Government of Andhra Pradesh rules.

- The tenderer should identify suitable water points before sinking the bore well. The bore well operator shall be a licensed and experienced.

- The tenderer should submit proof of Permanent Account Number (PAN) assigned by the Income Tax department.

- The tenderer should have a minimum 5 years experience in the field of sinking bore well, complete in all respects on turnkey basis.

- The decision of OSD, NIAB in the evaluation of bids shall be final.

- The bids should be unconditional and conditional bids will be summarily rejected.

- The successful bidder shall be solely responsible of all acts of omission and commission accessioned by his personnel in carrying out the works.

- OSD, NIAB reserve the right to reject all or any of the tenders without assigning any reasons.

- The tenderers are advised to visit the site at their own cost and familiarize themselves with the site conditions.

- The tenderer shall submit the tender document duly signed and stamped all pages.

- The price of various items of work shall be quoted in the Schedule only.

Evaluation of Tenders:

- The tender shall be evaluated by a tender evaluation committee constituted by the OSD, NIAB.

- The contract will be awarded to the bidder who has complied to all terms and conditions stipulated in the tender document and quoted the lowest price.

Terms and Conditions:

- The works should be carried out according to the specifications and as per the instructions given by the engineer in charge at work.

- The quantities mentioned in the schedule are only approximate. Actual quantities will be determined and details of the and same may decrease or increase according to the site conditions. The quantities actually executed by the contractor will be calculated at the rate given in the schedule of rates.

- The tender shall remain open for acceptance for a period of 30 days from the date of opening of tenders.

- NIAB does not bind itself to accept the lowest of any tender. The contractor shall employ a supervisor with sufficient qualifications and experience to supervise the execution of work at site.

- The work should be commenced immediately after the receipt of work order and the work should be completed within 10 days.

- The price quoted shall include all minor accessories and items of work which have not been specifically mentioned in the schedule but are essential for completion of the work. The contractor will not be eligible for any extra payment in respect of such minor accessories and items of work.

- It is the responsibility of contractor to handover the work free of any defects. If any defect occurs due to bad workmanship within a period of 1 year from the date of completion of work, it is the duty of the contractor to rectify the same at his own cost.

- The EMD of successful tenderer shall be retained towards security deposit, which will be released after successful completion of work. The EMD of unsuccessful tenderer will be returned after issue of work order to the successful tenderer.

- 90% of Payments shall be released after the completion of the work and declaration of satisfactory certificate by the Engineer in charge.  The balance 10% shall be released after the defect liability period of one year.

Schedule:

| S.No. | Description of item | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Providing water investigation report along with location of points after investigating the site by the qualified person / water diviner including all incidental charges | No. | 3 |  |  |
| 2 | Providing and drilling 6.5 inch dia bore well by drilling machine in ordinary soil, soft, hard murrum, soft rock, hard rock etc., truly vertical with all equipment and labour etc., from 0 – 50 meters depth | Meter | 50 |  |  |
| 3 | Same as item No. 2 above but from 50 meters to 100 meters | Meter | 50 |  |  |
| 4 | Same as item No. 2 above but from 100 meters to 150 meters | Meter | 50 |  |  |
| 5 | Same as item No. 2 above but from 150 to 200 meters | Meter | 50 |  |  |
| 6 | Same as item No. 2 above but from 200 to 250 meters | Meter | 50 |  |  |
| 7 | Same as item No. 2 above but from 250 to 300 meters | Meter | 50 |  |  |
| 8 | Supply and installation of 10.0 to 12.0 HP submersible multistage pump of reputed & ISI make complete with 3 phase control panel starter switch cables and suitable pipe from submersible pump to sump / overhead tank | No. | 1 |  |  |
| 9 | Providing and fixing 175mm dia heavy duty casing pipe or bore well including necessary coupling connected solutions etc., complete as required | Meter | 15 |  |  |
| 10 | Developing clearing and giving yield test for the bore well by required size of compressor and pump running of 12 hours or till no sand comes off with the pumped water with necessary pipes lowering and removing pipes in well etc., with all equipments required to carry out the tests complete as required | No. | 1 |  |  |

FORM OF TENDER

From:

………………………………………….

……………………………………………

…………………………………………….

To

The Officer-on-Special Duty (OSD)

National Institute of Animal Biotechnology (NIAB)

Aryabhata Block, C.R. Rao Advanced Institute of Mathematics,

Statistics and Computer Science (AIMSCS)

UoH Campus, Gachibowli, Hyderabad-500 046

Sir,

Sub: Submission of bid for Sinking of bore well, supply of pipes, pump sets and other related 	        materials proposal to the turnkey tender notification.

* * *

In response to the above turnkey tender notification tender document having studied and understood all the terms and conditions  of the said tender notification and the tender document thereof, in regard to Sinking of bore well, supply of pipes, pump sets and other related materials.  I / We submit the tender as follows:

Table – A

GENERL INFORMATION ABOUT THE BIDDER

| 1 | Name of the Company / Firm |  |
| --- | --- | --- |
| 2 | Address (of both H.O and Branch Office) |  |
| 3 | Telephone Number(s) | Phone: Fax: |
| 4 | E-mail |  |
| 5 | Website |  |
| 6 | Legal Status | Public Ltd., Co. Private Ltd., Co. Partnership Firm / Proprietary Concern |
| 7 | Date of Establishment / incorporation |  |
| 8 | Details of the contact person of the bidder for future correspondence - Name - Email - Phone / Mobile |  |
| 9 | EMD details | Name of the Bank: ` EMD valid upto: |
| 10 | PAN No. Service Tax Reg. No. |  |

Documents attached:

- Complete tender document duly signed & stamped

- Sufficient evidence to support information provided in the above table.

- Schedule with prices.

Date:

Place:									Signature of the bidder